## Slide 1: RFC8239 Data Center Benchmarking Methodology 3.Buffering Testing
100% Rate
1% Rate
2018.7.3
2018.7.24 PAUSE
DUT
Measure latency per frame
Chart: 
 | 3.34 | 4.02 | 4.69 | 5.36 | 6.03 | 6.7 | 7.38 | 8.05 | 8.72 | 9.39 | 10.06 | 10.74 | 11.41 | 12.08 | 12.75 | 13.42 | 14.1 | 14.77 | 15.44 | 16.11 | 16.78 | 17.46 | 18.13 | 18.8 | 19.47 | 0 | 0 | 18.8 | 19.48 | 0 | 0 | 0 | 18.8 | 19.48
Received frame number
Latency per frame (us)
Buffered frames = 24
@64 bytes frame
Drop frame
oversubscription
Buffer scope
To cause congestion at the same time
Traffic generator has following configuration.
Port Send Mode = Synchronous
Flow Control = disable

## Slide 2: RFC8239 Data Center Benchmarking Methodology 3.Buffering Testing
Chart: 
 | 2.65 | 4 | 4 | 5.35 | 5.35 | 6.01 | 7.36 | 7.36 | 8.71 | 8.71 | 9.37 | 10.72 | 10.72 | 12.07 | 12.07 | 12.73 | 14.08 | 14.08 | 15.43 | 15.43 | 16.09 | 17.44 | 17.44 | 18.79 | 18.79 | 18.11 | 19.46 | 19.46 | 0 | 18.11 | 19.46 | 19.46 | 0 | 0 | 18.11 | 19.46 | 19.46
100% Rate
100% Rate
DUT
Measure latency per frame
Received frame number
Latency per frame (us)
Buffered frames = 24
@64 bytes frame
Drop frame
oversubscription
Chart: 
 | 3.32 | 3.33 | 4.67 | 4.67 | 6.02 | 6.68 | 6.69 | 8.03 | 8.03 | 9.38 | 10.04 | 10.05 | 11.39 | 11.39 | 12.74 | 13.4 | 13.41 | 14.75 | 14.75 | 16.1 | 16.76 | 16.77 | 18.11 | 18.11 | 19.46 | 18.78 | 18.79 | 0 | 0 | 18.78 | 18.79 | 0 | 0 | 0 | 18.78 | 18.79
Buffered frames = 24
Buffer scope
Total buffered frames = 24 + 24
= 48
Received frame number
Drop frame
Latency per frame (us)

## Slide 3: RFC8239 Data Center Benchmarking Methodology 3.Buffering Testing
Total buffered frames = 12 + 12 + 12
= 36
Chart: 
 | 3.35 | 5.36 | 5.36 | 8.05 | 8.05 | 10.07 | 12.08 | 12.08 | 14.77 | 14.77 | 16.79 | 18.8 | 18.8 | 19.47 | 19.47 | 0 | 0 | 19.47
Chart: 
 | 4.01 | 4.69 | 6.02 | 6.7 | 8.71 | 10.73 | 11.41 | 12.74 | 13.42 | 15.43 | 17.45 | 18.13 | 19.46 | 18.8 | 20.13 | 0 | 18.8
Chart: 
 | 2.67 | 4.01 | 6.69 | 7.37 | 9.39 | 9.39 | 10.73 | 13.41 | 14.09 | 16.11 | 16.11 | 17.45 | 20.13 | 0 | 18.13 | 0 | 0 | 18.13
100% Rate
100% Rate
DUT
Measure latency per frame
Latency per frame (us)
Buffered frames = 12
@64 bytes frame
Drop frame
oversubscription
Buffer scope
100% Rate
Received frame number
Buffered frames = 12
Buffered frames = 12
Sequence Number > +1

## Slide 4: RFC2544 back-to-back and RFC8239 Buffering
DUT
Port #1
Port #4 Rx
Frame
Since the test frame also flows to the Rx port side during the transmission of the test frame, it is not known whether all the test frames were accumulated in the buffer.
Port #3
Port #2
buffer

## Slide 5: RFC8239 Buffering with Rx Pause
DUT
Pause Frame
Phase 1 frame store
DUT
Stop Pause
Fill the buffer.
Overflow frames are discarded.
Rx frames = Buffered frames
Test frame does not flow to the Rx port side.
We can know more accurate number of buffers.
Pause Time
Phase 2 Extract frame
Port # Rx
Port # Rx
buffer

## Slide 6: RFC8239 Buffering with Rx Pause
Chart: 
 | 265.4 | 266.74 | 268.08 | 268.75 | 270.77 | 270.77 | 273.48 | 274.81 | 275.49 | 0
Chart: 
 | 264.72 | 266.07 | 266.73 | 269.42 | 270.1 | 272.13 | 272.81 | 273.47 | 276.16 | 0
Chart: 
 | 264.05 | 265.4 | 267.41 | 268.08 | 269.43 | 271.46 | 272.13 | 274.14 | 274.82 | 276.16 | 0
100% Rate
100% Rate
DUT
Measure latency per frame
Latency per frame (us)
Buffered frames = 10
@64 bytes frame
Drop frame
oversubscription
Buffer scope
Total buffered frames = 10 + 9 + 9
= 28
100% Rate
Received frame number
Buffered frames = 9
Pause Frame
Buffered frames = 9
DUT Latency + Pause Time