## Slide 1
Smart Grid Standardization Activities
  Dr. David Su, Chief
  Advanced Network Technologies
  National Institute of Standards and Technology

## Slide 2: The Electric Grid
One of the largest, most complex infrastructures ever built
“The greatest engineering achievement of the 20th century”
- National Academy of Engineering

## Slide 3: Today’s Electric Grid in the U.S.
Markets and Operations
Generation
Transmission
Distribution
Customer Use
One-way flow of electricity
Centralized, bulk generation, mainly coal and natural gas
Responsible for 40% of human-caused CO2 production
Controllable generation and predictable loads
Limited automation and situational awareness
Lots of customized proprietary systems
Lack of customer-side data to manage and reduce energy use
Notes: 3
So what is the Smart Grid? Let’s start with the existing power grid, in which electricity it generated primarily by burning coal, transmitted through power lines and distributed out to your home and used in real time, since there is no good large storage capability for electricity. Sure, the grid is THE most significant engineering accomplishment of last century, but in many ways it is also pretty dumb. For example, in many cases, the power company doesn’t know that your power is out until you phone them. To move to the Smart Grid, we need to upgrade the existing grid with communications and intelligence.

## Slide 4: Smart Grid: The “Energy Internet”
Graphics courtesy of EPRI
2-way flow of electricity and information
Standards Provide a Critical Foundation
Notes: 4
Upgrading the grid components and systems with new functionality and communications requires interoperability, and to have interoperability of equipment and systems requires reliable standards and validated performance – a clear role for NIST.

## Slide 5: Smart Grid Goals
Enable consumers to manage and reduce energy use
Increase use of renewable sources
Improve reliability and security
Facilitate infrastructure for electric vehicles

## Slide 6: What Will the Smart Grid Look Like?
High use of variable renewables
Distributed generation and microgrids
Ubiquitous networked sensors
Smart meters and real time usage data
Dynamic pricing
Energy management systems
Smart appliances
Distributed storage
Bidirectional metering
Electric vehicles

## Slide 7: Smart Grid R&D (Depart of Energy)
Source:http://events.energetics.com/SmartGridPeerReview2010/pdfs/presentations/day1/am/0_Overview_Lightner.pdf

## Slide 8: Smart Grid Standardization (National Institute of Standards and Technology)
DR and Consumer Data
Wide Area Situational Awareness
V2G
AMI
Electric Storage
Distribution Grid Management
Cyber Security
Network Communications

## Slide 9: Smart Grid Interoperability Panel
Public-private partnership created in Nov. 2009
620 member organizations
Open, public process with international participation
Coordinates standards developed by Standards Development Organizations (SDOs)
  Identifies Requirements
  Prioritizes standards development programs
  Works with over 20 SDOs including IEC, ISO, ITU, IEEE, …
Web-based participation
SGIP Twiki:
http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/SGIP

## Slide 10: Filling Gaps in the Standards
Priority Action Plans
# | Priority Action Plan | # | Priority Action Plan
0 | Meter Upgradeability Standard | 9 | Standard DR and DER Signals
1 | Role of IP in the Smart Grid | 10 | Standard Energy Usage Information
2 | Wireless Communication for the Smart Grid | 11 | Common Object Models for Electric Transportation
3 | Common Price Communication Model | 12 | IEC 61850 Objects/DNP3 Mapping
4 | Common Scheduling Mechanism | 13 | Time Synchronization, IEC 61850 Objects/ IEEE C37.118 Harmonization
5 | Standard Meter Data Profiles | 14 | Transmission and Distribution Power Systems Model Mapping
6 | Common Semantic Model for Meter Data tables | 15 | Harmonize Power Line Carrier Standards for Appliance Communications in the Home
7 | Electric Storage Interconnection Guidelines | 16 | Wind Plant Communications
8 | CIM for Distribution Grid Management | 17 | Facility Smart Grid Information
PAPs supporting smart grid communications -1,2,15
PAPs supporting metering- 0,5, 6
PAPs supporting enhanced customer interactions with the smart grid – 3, 4, 9, 10
PAPs supporting distribution and transmission – 8,12,13,14,16,17
PAPs supporting new technologies - 7,11,16
Notes: NEED TO FOCUS ON A FEW PAPs that may be of interest to regulators or have regulatory policy implications AND DEMONSTRATE PROGRESS. This may require an additional or different slide. Potential candidate PAPs to discuss include:
  PAP 0 – Meter Upgradeability Standard
  PAP 3 - Common Price Communication Model
  PAP 9 - Standard DR and DER Signals
  PAP 10 - Standard Energy Usage Information
  PAP 11 - Interoperability Standards to Support Plug-in Electric Vehicles
  PAP 16 - Wind Plant Communications

## Slide 11
PAPs supporting smart grid communications:
  Guidelines for the Use of IP Protocol Suite in the Smart Grid (PAP 01);
  Guidelines for the Use of Wireless Communications (PAP 02);
  Harmonize Power Line Carrier Standards for Appliance Communications in the Home (PAP 15)
PAPs supporting metering:
  Meter Upgradeability Standard (PAP 00);
  Standard Meter Data Profiles (PAP 05)
PAPs supporting enhanced customer interactions with the smart grid:
  Standards for Energy Usage Information (PAP 10);
  Standard Demand Response Signals (PAP 09);
  Develop Common Specification for Price and Product Definition (PAP 03);
  Develop Common Scheduling Communication for Energy Transactions (PAP 04)
Priority Action Plans (1)
11

## Slide 12
PAPs supporting distribution and transmission:
  Develop Common Information Model (CIM) for Distribution Grid Management (PAP 08);
  Transmission and Distribution Power Systems Model Mapping (PAP 14);
  IEC 61850 Objects/DNP3 Mapping (PAP 12);
  Harmonization of IEEE C37.118 with IEC 61850 and Precision Time Synchronization (PAP13)
PAPs supporting new smart grid technologies:
  Energy Storage Interconnection Guidelines (PAP 07);
  Interoperability Standards to Support Plug-in Electric Vehicles (PAP 11)
  Wind Power Communications (PAP16)
Priority Action Plans (2)

## Slide 13: Conceptual Reference Diagram for Smart Grid Information Networks
Operations
RTO/ISO/Transmission/DistributionOps
Markets
Retailer / Wholesaler
Aggregator
Energy Market Clearinghouse
ISO/RTO Participant
Market Services Interface
Plant Control System
Generators
EMS
WAMS
SCADA
Enterprise Networks/ LAN
Metering System
Neighborhood Area Networks / Access Networks
Customer(Home/Building/Commercial/Industrial)
Power Generation/Transmision/Distribution
Service Providers
Utility Provider
CIS
Billing
Third-Party Provider
Retail Energy Provider
CIS
Billing
Home/Building Manager Provider
Aggregator
Others
Common Functionality Platform Provider
GW/Energy Service Interface (ESI)
Meter
Premise Networks
(HAN, LAN)
Customer Equipment, HVAC,Smart Appliances,
Customer EMS
Electric Storage
Distributed Generation
Electric Vehicle
Internet/ Extranet
Internet/ Extranet
Wide Area Networks
Customer
LAN
SCADA Networks/ Substation LANs
Substation Devices
Field Devices/ sensors
Distributed Generation
Substation Controller
Electric Storage
Data collector
Applications/Data base mgnt
Demand Response
3
1
1
1
1
1
1
1
1
1

## Slide 14: Smart Grid Network Standards
IP network protocol suite
Wireless network protocol suite
Power line communications protocols and their coexistence protocols
Applicable to Home Area Networks, Advanced Metering Infrastructure (AMI Networks, or Neighborhood Networks)

## Slide 15: Appliance-to-Grid Communication
Price, schedule, peak period signals for appliance-to-grid communications
Home Area Network Communications Protocols

## Slide 16: Cyber Security Working Group
16
Building cyber security in from the start has been a paramount concern
Permanent Working Group
  Over 460 public and private sector participants
August 2010 NIST publishes: Guidelines for Smart Grid Cyber Security
  Reflects Comments on Sept 2009 and Feb 2010 Draft Smart Grid Cyber Security Strategy and Requirements
Guideline includes:
  Risk assessment guidance for implementers
  Recommended security requirements
  Privacy recommendations
Notes: 16

## Slide 17: Energy Usage Information Standards
Standardizes data elements available to consumers or authorized 3rd party application providers

## Slide 18: Electric Vehicle Charging Standards
Data model
Information exchange protocols
Fast charging connector standard

## Slide 19: Foundational Standards for the SG
IEC 61970/61968 Common Information Model for Transmission and Distribution
IEC 61850 Common data format for substation automation
IEC 60870-6 Inter-control center communication
IEC 62351 Cybersecurity

## Slide 20: International Smart Grid Action Network
  Purpose: To accelerate development and deployment of smarter electric grids around the world
  Announced at the first meeting of the Clean Energy Ministerial (CEM) in July 2010

## Slide 21: Further Information
Web portal: http://www.nist.gov/smartgrid
Contact:
  David Su
  Email: david.su@nist.gov
  Telephone: +1.301.975.6194